## Sheet1
Earth Care Campaign Thessaloniki, Greece April May, 2025 | [7 empty] | PMODWR | LAP | NOA | U Zrh | UPatras | ECoE
[8 empty] | Stelios kazadzis SK Natalia Kouremeti NK Angelos Karanikolas AK Anna Moustaka AM Kyriaki Pap KP | Dimitris balis DB | Dimitra Kouklaki DK | Andears Hüni AH Marvin Wagner MW | Andreas kazantzidis AK Panagiotis Ioannidis PI Orestis panagopoulos OP | Georgia Charalambous GC Athina Savva AS Maria Poutli MP
Alkis Bais AB
Month | Day | LAP | Kedek | Epanomi | other | comments | measurements
April | 14-18 |  |  | NK PMOD, PI Instalation of instruments SK |  | UZ spectroradiometer at LAP needs to be transported inside in case of rain and during the night.
| 21 |  |  | SK, AK |  |  |  | Lap | Kedek | epanomi | 4th site
| 22 |  | GC ECOE Instalation of Instruments | SK, AK |  |  |  | UZ specroradiometer | NOA all | EKO Patras and pyranometers | Microtops | Mtops: NOA, ECoE, Patras, UZH
| 23 | AW (UZH) installation | DK NOA instalation of instruments, NK installation | SK, AK |  | start of measurements |  | Patras Camera 4th site close to LAP | 2nd tracker NOA and PFR | tracker PMOD | Pyrano ECoE | Calittoo PMOD (2)
| 24 |  | DK, GC | SK, AK | 4th site ? | Intensive measurements overpass |  | Lap permanent instr. | ECoE Camera | 2 PFRs PMOD
| 25 |  | DK, GC | SK, AK | 4th site measurements at different points with Mtops |  |  |  | PFR PMOD | Camera PMOD and pyranometer
| 26 |  | DK, GC | AK
| 27 |  | DK, GC | AK
| 28 |  | DK, GC | AK | Hand held at different locations | MSc project ?
| 29 |  | DK, GC | AK | Hand held at different locations
| 30 |  | DK, GC | AK | Hand held at different locations
May | 1 |  | DK. GC | AK | Hand held at different locations |  |  | possible 4th site for overpass Evexia Center
| 2 |  | DK | AK | Hand held at different locations
| 3 |  | DK | AK
| 4 |  | DK | AK
| 5 |  |  | AK
| 6 |  |  | AM
| 7 |  |  | AM
| 8 | Intercalibration hand held AOD |  | AM |  | AS with help ECOE Intercalibration
| 9 | Intercalibration hand held AOD |  | AM
| 10 |  | DK | AM
| 11 |  | DK | AM
| 12 |  | Intercalibration hand held AOD DK | AM
| 13 |  | Intercalibration hand held AOD DK | AM
| 14 |  | DK, last day of GC at the station | Intercalibration hand held AOD SK
| 15 |  | DK, | Intercalibration hand held AOD SK
| 16 |  | DK | AW UZspec at Epanomi SK |  | UZ 1-2days intercal with EKO
| 17 |  | DK | AM, SK
| 18 |  | DK | AM, SK
| 19 |  | DK | AM, SK | 4th site | Intensive measurements overpass
| 20 |  | DK | AM, SK | measurements at different points with Mtops
| 21 |  | DK | AM, SK
| 22 | Instrument packing | Instrument packing | Instrument packing
23
24

## log book
LOG BOOK | LAP |  |  | Epanomi |  |  | Kedek |  |  | other
Date | Comments on instruments | weather | various | Comments on instruments | weather | various | Comments on instruments | weather | various | Comments on instruments | weather | various
| please put your initials |  |  | please put your initials |  |  | please put your initials |  |  | please put your initials
2025-04-13
2025-04-14 |  |  |  | PFRs installed and UoV camera laptop needs check, ethernet for camera | cloudy 6 to 8 octas no direct sun
2025-04-15
2025-04-16 |  |  |  | 2 PFRS and spectrometers installed
2025-04-17 |  |  |  | cleaning 10.30 | partly cloudy | sky camera was particularly dirty | Sk instruments of ECoE and PFR at keded in the boxes
2025-04-18
2025-04-19
2025-04-20
2025-04-21
2025-04-22 |  |  |  | Cleaning 07:00 UTC A.K. | cirrus in front of the Sun, 6-7/8 cloudiness | sky camera was particularly dirty | Installations, gc: All Sky Camera Installation Completed | variable cloudiness 3 to 7 low and cirrus
2025-04-23 |  |  |  | Cleaning 6:00 UTC A.K. | Cirrus scattered in the whole sky |  | installations
2025-04-24 |  |  |  | Cleaning 6:00 UTC A.K. | Mixed broken clouds almost overcast | The domes were humid. The tracker from Patra doesn't point to the Sun. Tracker reset on ~09:20 UTC. | dk: NOA installation complete (remaining alignment due to cloudy conditions); mw: replacement of tripod head -> installation of SVC, gc: installation of ECoE pyranometer completed | partially cloudy
2025-04-25 |  |  |  | Cleaning 6:30 UTC A.K. Cleaning again at 10:55 UTC | Hazy sky, clouds very low on the horizon | The domes were humid. Still issues with the tracker from Patra. | dk: NOA alignment complete by 07:30UTC and remained stable during the day. Cleaned all instruments at 07:30 and 15:00UTC; mw : problems with closing of shadowband of the SVC -> fixed around 14.00 EEST | Clear sky in the morning, some rainy periods around middday and mainly clear during the overpass time, a few broken and cirrus clouds
2025-04-26 |  |  |  | Cleaning 6:30 UTC I.P. |  | The domes were humid. Issues with the datalogger and sun sensor from Patras persist. | dk: NOA alignment stable. Cleaned all at 06:00 UTC | Partial cloud in the morning, overcast and rain after 11:00 utc
2025-04-27 |  |  |  | Cleaning 7:00 UTC I.P. | 7/8 cloudiness, obscured sun, rain started at 9:45 UTC and for the most part of the day | The domes were humid. Issues with the datalogger and sun sensor from Patras persist. | dk: NOA alignment stable. Cleaned all at 07:30UTC | Overcast overall, partial cloud around noon
2025-04-28 |  |  |  | Cleaning 6:15 UTC I.P. | Broken clouds 6/8 cloudiness with obsucred sun | Patras: Replaced the datalogger. Prolems with the sun sensor persist. | dk: NOA alignment stable. Cleaned all at 06:20UTC | Partial cloud, mainly clear after 14:00
2025-04-29 |  |  |  | Cleaning 5:50 UTC | Broken clouds with obscured Sun. | Problems with the pyranometer signal from Patra. Tests with the connection of pyranometer and the new datalogger ~8:20-9:00 UTC. The signal is not sensible and not significantly affected by changes in the connections. Evolution of the signal with time changes if 2 cables are in the ground and one in high or elsewhere. | dk: NOA alignment stable. Cleaned all at 06:30 and 15:18UTC. PFR tracker out of place, rebooted but still didn't point or follow the sun. Checked again at 15:18utc, alignment correct. | Mainly clear with some cirrus clouds in the morning. Clear sky after noon
2025-04-30 |  |  |  | Cleaning 6:00 UTC I.P. Recleaninng 10:05 UTC A.K. | 6:00 and 10:05 UTC: Few clouds low the horizon in the south and east directions. 11:15 UTC: Thin clouds very close to the Sun. | Problems with the pyrnometer from Patras. Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: NOA alignment stable. PFR alignment stable.Cleaned all at 06:15UTC and 15:00UTC. | Clear sky, a few cirrus in the afternoon. Not obscured sun before 12:45 UTC
2025-05-01 |  |  |  | Cleaning 6:00 UTC I.P. | Thin cirrus across the whole with obscured sun, 3/8 cloudiness. Clouds on the horizon in the southwest direction. | Problems with the pyrnometer from Patras. Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: NOA alignment stable. PFR alignment stable.Cleaned all at 06:00UTC | Mainly clear sky with some cirrus clouds in the morning, partial cloud after noon, mostly cloudy in the afternoon, light rain around 15:00
2025-05-02 |  |  |  | Cleaning 6:05 UTC I.P. Cleaning 8:00 UTC A.K. 9:15 UTC clear Sun. | 6:00: Clouds all over the sky. 7-8/8 cloudiness. 8:00: Thin clouds very close to the Sun. Few scattered clouds high, thick clouds low on the horizon towards East, West and South. | Problems with the pyrnometer from Patras. Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: Cleaned all at 04:55UTC and 13:40UTC. | Overcast in the morning, mainly clear after 07:30 with a few clouds close to the horizon. partial cloud after ~10:00. | A few minutes after 05:00 UTC, the sun is blocked for a few minutes from the wind station in front of the NOA instruments. It is observed also in the ghi and dni measurements specifically under clear sky conditions
2025-05-03 |  |  |  | Cleaning 5:30 UTC I.P. , Cleaning 9:00 UTC A. M., Cleaning 14:00 UTC I.P. | 5:30: Sky is clear, 11:15 UTC smoke appeared in the atmosphere propably from nearby wood burning and cleared at approcximately 13:00 | Pyrnometer from Patras is working and measures at Patras datalogger. Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | Cleaned all ~ 07:45UTC(gc) and 13:25UTC(dk). dk: NOA and PFR alignment stable. | Clear sky, a few cirrus clouds in the afternoon | Measuring with microtops every ~15'
2025-05-04 |  |  |  | Cleaning 5:30 UTC I.P. Cleaning 12:32 UTC AM | 5:30: Cirrus clouds obstract the sun. 4/8 cloudiness. Thin Cirrus clouds around 10:30 to 11:00 | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. MS711-DNI restarted due to windows update at 15:00 UTC. | gc: Cleaned all ~ 06:45UTC AND 11:20 UTC NOA and PFR alignment stable. | few cirrus in the morning | Measuring with microtops every ~15'
2025-05-05 |  |  |  | 6:00 UTC: Cleaning I.P. 8:00 UTC: Cleaning AM. 10:43 UTC: Cleaning AM. | 5:30 UTC: 8/8 cloudiness plus drizzle. 6:00 UTC: Drizzle has stoped and 7/8 cloudiness. 6:00 UTC-10:15 UTC: Drizzle from time to time. 10:30 UTC: Drizzle has stopped. Some scattered clouds present at the sky 6/8. 12:00 UTC: Cloudiness 8/8, 14:35 UTC: Clear sky | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | gc: Cleaned all ~ 07:00 UTC and 13:50 UTC .checked NOA AND PFR alignment at 10:30 UTC | overcast in the morning, mainly clear after 10:20 UTC with some cirrus | measuring with mictrotops from 11:30 UTC every ~15'
2025-05-06 |  |  |  | 5:38 UTC: Cleaning AM | 5:38 UTC: Cirrus clouds obstract the sun. Cloudiness 5/8. 9:10 UTC we had light rain until 9:40 UTC. 10:05 rain started again and stopped at 10:30 UTC. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | gc: cleaned all, around 5:10 UTC and 10:55 UTC | cirrus clouds in the morning, rain started at 9:20UTC | server of camera had some technical issues from the morning, reset the server reset times, restart the camera twice, in contact with the schreder team, fix the issue at 9:55 UTC
2025-05-07 |  | Clouds around 8:15 UTC - 11:30 UTC | Measuring with microtops NOA-ECoE-LAP & 3 Calitoos every ~15' wrong coordinates | 5:43 UTC: Cleaning I.P. 10:17 UTC: Cleaning AM. 13:05 UTC: Cleaning AM | 5:43 UTC: Cirrus clouds, 1-2/8 cloudiness. 10:17 UTC: Cloudiness 7/8. We had light rain from around 9:50 to 10:10 UTC. 10:38 UTC: Mostly clear sky, 1-2/8 cloudiness | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | gc: cleaned all. around 5:50 UTC and 10:45 UTC. NOA AND PFR alignment ok | light rain started around 10 UTC | fixed the NOA pyranometer (global) leveling (6:15 UTC)
2025-05-08 |  | Clouds cirrus around 09:45 UTC | Measuring with microtops NOA-ECoE-LAP & 3 Calitoos every ~15' 5:41:29 UTC - 12:30 UTC wrong coordinates | 6:00 UTC: Cleaning AM 16:00 UTC: Cleaning I.P. | 6:00 UTC: Some Cirrus clouds present, 1-2/8 cloudiness | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | gc: cleaned all, around 6:40 UTC | cirrus clouds in the morning
2025-05-09 |  |  |  | 5:00 UTC: Cleaning I.P. 12:35 UTC: Cleaning AM. 13:03 UTC: Cleaning AM | 5:00 UTC: Cirrus clouds present, 1-2/8 cloudiness. 9:55 UTC: Clouds 7-8/8, 12:35 UTC: Still clouds 8/8, Around 12:45-12:55 UTC: Light rain | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | gc: cleaned all, around 6:35 UTC | cirrus clouds
2025-05-10 |  |  |  | 6:00 UTC: Cleaning AM, 13:44 UTC: Cleaning AM. | 6:00 UTC: Some Clouds present. Cloudiness: around 5/8. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | gc: cleaned all, around 6:35 UTC. NOA and PFR alignment ok | partial cloud, mostly cloudy after noon | measuring with mictrotops from approx. 08:15 UTC every ~15' until noon due to obscured sun after that time. |  |  | 1 set of microtops and calitoo in every station (LAP(mic:AUTH, cal:486), KEDEK(mic:ECoE, cal:410), EPANOMI (mic:NOA, cal:425))
2025-05-11 |  |  |  | 6:00 UTC: Cleaning AM, | 6:00 UTC: Clouds | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: cleaned all 06:00UTC and 15:20UTC. NOA and PFR alignment stable | Light rain in the morning, overcast, partial cloud after noon, cirrus in the afternoon
2025-05-12 |  |  |  | 7:00 UTC: Cleaning I.P. | 7:00 UTC: Scattered cumulus. 3/8 cloudiness. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: cleaned all 06:20UTC and 14:20UTC. NOA and PFR alignment stable | partial cloud, mainly cloudy in the afternoon | measuring with mictrotops from 07:10 UTC every ~15'
2025-05-13 |  | CB: Clouds and rainfall throughout the day. |  | 8:30 UTC: Cleaning I.P. | 6:30 UTC: 8/8 cloudiness and frequent rain intervals from early morning. 8:30 UTC: Still 8/8 cloudiness, no rain for a while. | Camera from Patras in Thesalloniki was fixed. Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: cleaned all 07:10UTC, 08:35, gc: 10:55 UTC | Overcast and rain for most of the day | No handheld measurements
2025-05-14 |  | CB: Thick clouds until 8:30 UTC. | CB: Starticg at 9:00 UTC, Microtops & Calitoo measurements when sky is clear | 5:30 UTC: Cleaning I.P. Domes were covered in water bubbles due to night rain. 13:05 UTC: Cleaning AM. | 5:30 UTC: Mixed clouds across the sky, 4/8 cloudiness. 7:40 UTC: Clear sky | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. 7:40 UTC started measuring every 15 minutes with both Calitoo and Microtops. We measured up to 13:10 UTC with both Calitoo and Microtops. | gc: cleaned all 6:20 UTC. NOA and PFR alignment stable. Cleaned all 15:35UTC | Partial cloud, mainly clear in the afternoon | ECoE pyranometer has some issues with humidity after rain. Measuring with mictrotops & calitoo from 08:15 UTC every ~15'
2025-05-15 |  |  | CB: No Microtops & Calotoo measurements due to cloudness. | 5:20 UTC: Cleaning I.P. Domes were partially covered in water bubbles. 12:05 UTC: Cleaning I.P. | 5:20 UTC: Mixed high clouds across the sky, 6-7/8 cloudiness. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: cleaned all 06:00UTC. NOA and PFR alignment stable. Cleaned all 14:38UTC | partial cloud, with many cirrus clouds | No handheld measurements planned due to cloudy conditions. Handheld instruments (NOA's microtops and 1 calitoo) from Epanomi (AM) were delivered to KEDEK (DK).
2025-05-16 |  |  | CB: No Microtops & Calotoo measurements due to rainfall. |  | 6:15 UTC: drizzle, 8/8 cloudiness. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: Cleaned all 06:10UTC, 09:00utc after rain and 15:30utc. | Overcast and rain | Handheld instruments (NOA's microtops and 1 calitoo) still at KEDEK. No handheld measurements planned due to cloudy conditions.
2025-05-17 |  | CB: Cirrus until 8:00 UTC. | CB: Started measuring at 7:45-11:15 UTC with all 6 hand-held photometers. | 5:45 UTC: Cleaning I.P. All instruments had dirt stains propably due to yesterdays rain. | 5:45 UTC: Cirrus clouds across the sky. 4/8 cloudiness | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: cleaned all 06:45, 10:30UTC.NOA and PFR alignment stable. cleaned all 15:00UTC. | cirrus clouds in the morning, mainly clear in the afternoon with a few clouds, cloudy after ~13:00UTC (& obscured sun) | All 4 handheld instruments from KEDEK moved to LAP.
2025-05-18 |  |  | CB: Started measuring at 7:15 UTC with all 6 hand-held photometers. | 5:05 UTC: Cleaning I.P. 13:45 UTC: Cleaning I.P. | 5:05 UTC: Clear sky. 1:45 UTC: Clear sky | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: 06:40UTC cleaned all. NOA and PFR alignment stable. | clear sky | No handheld instruments at KEDEK- no measurements performed
2025-05-19 |  |  |  | 4:45 UTC: Cleaning I.P. 10:00 UTC: Cleaning I.P. 14:00 UTC: Cleaning I.P. | 04:45 UTC: Clear Sky but atmosphere looks a little blurry. 10:00 UTC: Sky seems clear. 14:00 UTC: Relatively clear sky with cirrus clouds. with few clouds low on the horizon | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: Cleaned all 06:20UTC and 14:53UTC. NOA and PFR alignment stable. | clear sky (looks like there was a very thin cirrus all over the sky but not exactly), a few broken clouds in the afternoon | No handheld instruments at KEDEK- no measurements performed
2025-05-20 |  |  |  | 5:05 UTC: Cleaning I.P. 12:00 UTC: Cleaning I.P. | 5:05 UTC: Few cirrus clouds. 12:00 UTC: Few cirrus clouds. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: Cleaned all 06:00UTC, 09:58UTC. NOA and PFR alignment stable. cleaned all 15:40 UTC | clear sky, some cirrus clouds closer to local noon. Very thin xirrus clouds during the overpass. Clear sky again around 14:00UTC | Planning to measure with ETH-Z microtops during overpass at KEDEK (dk). First measurement at 12:00UTC
2025-05-21 |  |  |  | 6:00 UTC: Cleaning I.P. | 6:00 UTC: Scattered mixed clouds. 4-5/8 cloudiness. | Suntracker still on clock mode, following the sun with a slight error every few minutes which is corrected by hand. | dk: cleaned all 06:25UTC | mostly cloudy and light rain in the morning | No handheld measurements planned
2025-05-22